## Slide 1: Distribution System Planning for Uncertain DER Futures using Adaptive Dynamic Programming (ADP)
Bryan Palmintier, PhD
Senior Research Engineer, NREL
IEEE PES General Meeting 2016
Boston, MA
And
(Still working to combine)

## Slide 2: Outline
Stochastic Methods for Hosting Capacity
Multi-period Decisions
Design Flexibility for Storage with uncertain PVs using Dynamic Programming (DP)
The Curse(s) of Dimensionality
Approximate Dynamic Programming
dynamo Toolbox
Next Steps
Notes: Define Variable Renewables

## Slide 3: Stochastic Hosting Capacity
5000 cases shown Each point = highest primary voltage
ANSI voltage limit
Maximum Feeder Voltages (pu)
Increasing penetration (kW)
Minimum Hosting Capacity
Maximum Hosting Capacity
No observable violations regardless of size/location
Possible violations based upon size/location
Observable violations occur regardless of size/location
Total PV: 540 kW
Total PV: 1173 kW
Voltage violation
Source: Jeff Smith, EPRI, “Alternative Screening Methods PV Hosting Capacity in Distribution Systems”, Presented at HiPen Solar Forum 2013, Feb 13-14, San Diego, CA.
Notes: From: Jeff Smith, EPRI, “Alternative Screening Methods PV Hosting Capacity in Distribution Systems”, Presented at HiPen Solar Forum 2013, Feb 13-14, San Diego, CA.

## Slide 4: Larger question
“how can a distribution utility best plan hardware upgrades, control setting, and interconnection requirements (e.g. PV inverter set points) today, given both the (1) considerable uncertainty in future adoption patterns for the DERs and (2) the ability to make/revisit decisions later?”

## Slide 5: Background
High DER* future may require distribution upgrades
  Ex: high-pen PV interconnection studies
Today:
  Manual Engineering
  Project specific
  Static future
*DER = PV, EV, DR, Storage

## Slide 6: Background
High DER* future may require distribution upgrades
  Ex: high-pen PV interconnection studies
Today:
  Manual Engineering
  Project specific
  Static future
*DER = PV, EV, DR, Storage

## Slide 7: Background
High DER* future may require distribution upgrades
  Ex: high-pen PV interconnection studies
Today:
  Manual Engineering
  Project specific
  Static future
*DER = PV, EV, DR, Storage

## Slide 8: Background
High DER* future may require distribution upgrades
  Ex: high-pen PV interconnection studies
Today:
  Manual Engineering
  Project specific
  Static future
Tomorrow:
  Automated
  Forward Looking
  Stochastic

## Slide 9: Motivating (Contrived?) Example
Utility Storage Investment with future PV uncertainty
Storage Options:
  Small: 200kW/1MWh.
  Large: 1000kW/5MWh.
  Flex: 1000kW/1MWh. Option to expand to 5MWh
PV uncertainty
  Initially 76% (capacity) penetration
  P1: grow to 86% or 109%
  P2: 111% - 151% (lattice)
Penalty for Back Feed
Scrap if too small
Salvage if too big
(path dependent)

## Slide 10: Motivating (Contrived?) Example
OpenDSS operations
IEEE 13-bus
Excel Decision Tree
Decision | E(NPV) | Best case | Worst case
P1 Large | $ 1,978,744 | $ 1,758,961 | $ 2,226,158
P1 Flex | $ 1,080,352 | $ 550,961 | $ 1,797,065
P1 Small | $ 1,112,793 | $ 433,735 | $ 2,036,200
Optimal First Decision: Flexible storage: oversized inverter & option to add batteries later

## Slide 11: OK, But What about real-sized problem?
Approximate/Adaptive Dynamic Programming

## Slide 12: ADP: Overcoming the Curses of Dimensionality
State
  Function approximation

## Slide 13: ADP: Overcoming the Curses of Dimensionality
State
  Function approximation
Decision
  Machine Learning

## Slide 14: ADP: Overcoming the Curses of Dimensionality
State
  Function approximation
Decision
  Machine Learning
Uncertainty
  Monte Carlo

## Slide 15: (one) ADP “Recipe”
First consider traditional Dynamic Programming:
Dynamic Programming
(Backward Induction)

## Slide 16: ADP “Recipe”
Learning: double-pass (TD λ=1)
  Update abort for changed decisions
Adaptive/Approximate
Dynamic Programming
(Double-Pass)

## Slide 17: ADP “Recipe”
Adaptive/Approximate
Dynamic Programming
(Double-Pass)
Learning: double-pass (TD λ=1)
  Update abort for changed decisions

## Slide 18: ADP “Recipe”
Adaptive/Approximate
Dynamic Programming
(Double-Pass)
Learning: double-pass (TD λ=1)
  Update abort for changed decisions

## Slide 19: ADP “Recipe”
Other Ingredients:
Learning: double-pass (TD λ=1)
  Update abort for changed decisions
Decision Policy: Approx. Value Fun.
Value Function: Post Decision
Approximation: Local Regression
  Arbitrary multi-dimensional surface
  Learn from neighbors
  K-D tree for neighbors
Sampling: Estimate then exploit
  One sample for all states
  Then take apparent best
Other Heuristics:
  Operations Cost Memo-ization
  Strategic Step-size selection
  Etc.
Yeah, right, Bryan. This looks like a pain!

## Slide 20: dynamo - Dynamic programming for Adaptive Modeling and Optimization
Open-Source (soon) MATLAB* Toolbox
  Both DP & ADP
Modular
  Multiple Algorithms -- One Problem Definition
    DP: Backward Induction
    ADP: Sampled Backward Induction, TD λ=1, more later
  Interchangeable Function approximations
  Standardized Random Processes
Well suited to black-box operations models (e.g. OpenDSS for Powerflow)
*Python version under consideration

## Slide 21: Example from Generation Capacity Expansion
Generation Mix:
  Stochastic Climate Policy
  Stochastic Growth
Run Using dynamo
100-500x Faster
For <5% error

## Slide 22: Wrapping-up
Forward-looking distribution planning for DERs
ADP for tractable multi-period decision problems
Future Directions
  Full-scale Distribution Decision Problem
    Inverter settings now and later
    Other control settings
    (realistic) Storage size and placement
    Others
  Apply dynamo to distribution problem
  Open-source release of dynamo

## Slide 23: Questions?
Bryan Palmintier
?